## Slide 1: Barium Tagging in Solid Xenon for nEXO
Tim Walton
PhD Defense
2015-12-08
committee:
William Fairbank Robert Wilson
Bruce Berger Alan Van Orden

## Slide 2
Neutrinos and neutrinoless double beta decay
EXO-200 experiment
nEXO and barium tagging
Barium tagging in solid xenon (SXe):
  Spectroscopy of Ba and Ba+ in SXe
  Imaging single Ba atoms in SXe
Outline

## Slide 3
Neutrinos
First indications: beta decay spectrum
Interact only via Weak Force (and Gravity)
Very small mass

## Slide 4
νe
νμ
Neutrino oscillation
sij = sin θij, cij = cos θij, and δ, α1, α2 are CP-violating phases.
With mν << pν, time-evolution is determined by mass squared differences Δm212 = m22 – m12 and Δm312 = m32 – m12.
Neutrino oscillation requires non-zero mass squared differences.
Neutrinos interact as flavor states |,|,|.
Flavor basis is related to the mass basis |,|,| by
PMNS matrix:

## Slide 5
2012 Review by K. Nakamura, U. Tokyo, S.T. Petcov
Neutrino mixing measurements given Normal (Inverted) Hierarchy:
νe
νμ
Neutrino oscillation
Neutrino Mass Hierarchy

## Slide 6
Much yet to learn…
What is the fundamental nature of neutrinos? (How is their mass generated, and why is it so small? Are they Majorana or Dirac particles?)
What is the absolute mass scale of the neutrinos?
Do they violate CP and/or Lepton Number conservation?
A method: search for Neutrinoless Double Beta Decay (0νββ)
Observation of this decay would:
prove that neutrinos are Majorana fermions
measure absolute neutrino mass in the form of effective electron-neutrino mass:
(Q,Z)
where
is a known phase factor
is the nuclear matrix element for 0νββ
is the half-life of 0νββ

## Slide 7
Search for 0νββ
Energy Spectrum Signature
- Predicted by Standard Model
- Observed in many isotopes,
including Xe136 in EXO
and KamLAND ZEN
Very rare decay
Very low backgrounds are required

## Slide 8
EXO-200:
WIPP salt mine
near Carlsbad, NM
~200-kg. liquid Xe (LXe) time projection chamber (TPC), enriched to ~80.6% Xe136
operates in class 100 cleanroom, 2,150 ft. underground
TPC installation into copper cryostat
First phase of Enriched Xenon Observatory,
for the search for 0νββ mode of

## Slide 9
EXO-200 Time Projection Chamber
Cathode grid
Detection plane for
charge (wires) and scintillation
(APDs) from decay events in the LXe

## Slide 10
Liquid Xenon
Avalanche Photo Diodes (APDs) for scintillation light
Drift time gives z-position
Cross-hatched “u” and “v” wires give x-y position, u-wires collect ionized charge
EXO-200 Time Projection Chamber
(time between scintillation and charge detection)

## Slide 11
EXO-200 Results: 2νββ Measurement
(2.165 ± 0.016 stat. ± 0.059 sys.)×1021 yr
Phys. Rev. C 89, 015502 (2014)

## Slide 12
Nature 510, 229 (2014)
# Events from Fit | 
Backgrounds | 31.1
0νββ decay | 9.9
Total | 41.0
EXO-200 Results: 0νββ Search
1.1×1025 yr (90% CL)
Effective Majorana neutrino mass:
< 190-450 meV
Zoom into ±2σ region of interest
KamLAND ZEN:
1.9×1025 yr (90% CL)

## Slide 13
0νββ Sensitivity
Final (2019) EXO-200 sensitivity in “Quasi-degenerate” region of neutrino masses.
Measurement of could determine mass hierarchy if below this region.
But need bigger detector…
Normal Hierarchy
Inverted Hierarchy

## Slide 14
nEXO
Successor to EXO-200: ~5-ton enriched LXe TPC for more sensitive 0νββ search.
EXO-200: 170 kg enriched LXe

## Slide 15
Successor to EXO-200: ~5-ton enriched LXe TPC for more sensitive 0νββ search.
Ba tagging: identify barium daughter for complete background elimination
Will require grabbing/detecting a single Ba+ out of a macroscopic volume of LXe!
nEXO

## Slide 16
University of Alabama, Tuscaloosa AL, USA — T Didberidze, M Hughes, A Piepke, R Tsang
University of Bern, Switzerland — S Delaquis, R Gornea†, J-L Vuilleumier †Now at Carleton University
Brookhaven National Laboratory, Upton NY, USA — M Chiu, G De Geronimo, S Li, V Radeka, T Rao, G Smith, T Tsang, B Yu
California Institute of Technology, Pasadena CA, USA — P Vogel
Carleton University, Ottawa ON, Canada — Y Baribeau, V Basque, M Bowcock, M Dunford, M Facina, R Gornea, K Graham,
P Gravelle, R Killick, T Koffas, C Licciardi, K McFarlane, R Schnarr, D Sinclair
Colorado State University, Fort Collins CO, USA — C Chambers, A Craycraft, W Fairbank Jr., T Walton
Drexel University, Philadelphia PA, USA — MJ Dolinski, YH Lin, E Smith, T Winick, Y-R Yen
Duke University, Durham NC, USA — PS Barbeau, G Swift
University of Erlangen-Nuremberg, Erlangen, Germany — G Anton, R Bayerlein, J Hoessl, P Hufschmidt, A Jamil, T Michel, T Ziegler
IBS Center for Underground Physics, Daejeon, South Korea — DS Leonard
IHEP Beijing, People’s Republic of China — G Cao, W Cen, X Jiang, H Li, Z Ning, X Sun, T Tolba, W Wei, L Wen, W Wu, J Zhao
University of Illinois, Urbana-Champaign IL, USA — D Beck, M Coon, J Walton, L Yang
Indiana University, Bloomington IN, USA — JB Albert, S Daugherty, TN Johnson, LJ Kaufman, G Visser, J Zettlemoyer
University of California, Irvine, Irvine CA, USA — M Moe
ITEP Moscow, Russia — V Belov, A Burenkov, M Danilov, A Dolgolenko, A Karelin, A Kobyakin, A Kuchenkov, V Stekhanov,
O Zeldovich
Laurentian University, Sudbury ON, Canada — B Cleveland, A Der Mesrobian-Kabakian, J Farine, B Mong, U Wichoski
Lawrence Livermore National Laboratory, Livermore CA, USA — O Alford, J Brodsky, M Heffner, G Holtmeier, A House, M Johnson,
S Sangiorgio
University of Massachusetts, Amherst MA, USA — J Dalmasson, S Feyzbakhsh, S Johnston, J King, A Pocar
McGill University, Montreal PQ, Canada — T Brunner
Oak Ridge National Laboratory, Oak Ridge TN, USA — L Fabris, D Hornback, RJ Newby, K Ziock
Rensselaer Polytechnic Institute, Troy NY, USA — E Brown
SLAC National Accelerator Laboratory, Menlo Park CA, USA — T Daniels,- K Fouts, G Haller, R Herbst, M Kwiatkowski,
K Nishimura, A Odian, M Oriunno, PC Rowson, K Skarpaas
University of South Dakota, Vermillion SD, USA — R MacLellan
Stanford University, Stanford CA, USA — R DeVoe, D Fudenberg, G Gratta, M Jewell, S Kravitz, D Moore, I Ostrovskiy, A Schubert,
K Twelker, M Weber
Stony Brook University, SUNY, StonyBrook, NY, USA — K Kumar, O Njoya, M Tarka
Technical University of Munich, Garching, Germany — P Fierlinger, M Marino
TRIUMF, Vancouver BC, Canada — J Dilling, P Gumplinger, R Krücken, F Retière, V Strickland
The nEXO Collaboration

## Slide 17
0νββ Sensitivity
Normal Hierarchy
nEXO will probe entire Inverted Hierarchy, and well into Normal Hierarchy with Ba tagging.
Inverted Hierarchy

## Slide 18
Barium Tagging in Solid Xenon
Ba+ ion
solid Xe
Onbb decay
liquid Xe TPC
Cold probe
CCD
fiber
solid Xe
laser
Ba+ ion
≤ 1 Ba atom in SXe in focused laser

## Slide 19
Requires:
Position of 2β decay known (TPC)
Understanding of Ba/Ba+ fluorescence in solid xenon
Detection sensitivity at single atom/ion level
Barium Tagging in Solid Xenon

## Slide 20
Requires:
Position of 2β decay known (TPC)
Understanding of Ba/Ba+ fluorescence in solid xenon
Detection sensitivity at single atom/ion level
Barium Tagging in Solid Xenon

## Slide 21
Ion Beam
for depositing Ba+ ions into Solid Xenon
Ba+ ion
source
2000 V
EхB
mass filter
pulsing
plates
Sapphire
Window
Acceleration/
Einzel Lens
Einzel Lens
Einzel Lens
deflection
plates
deflection
plates
deflection
plates
Decelerator
Faraday cup
Faraday cup
induction plates

## Slide 22
Ion Source
hot filament/cathode
anode
Barium source

## Slide 23
Ion Source
Barium source
Ba+ ions escape through small hole

## Slide 24
Ion Acceleration
2000 V
0 V

## Slide 25
E x B Mass Filter for selecting Ba+
N
S
+
-
Electrode “shims” for shaping E-field
Only ions with velocity satisfying
qE = qvB
will move through filter undeflected, thus selecting specific m/q, which have different velocities due to initial acceleration.
ion beam

## Slide 26
Pulsed Ba+
Ion Beam
Faraday cup is calibrated to calculate
Ions/Area
Pulse
Sapphire Window (11 K)
Ba+/Ba Deposition
Faraday Cup
Induction Plates

## Slide 27
Xe gas
Sapphire Window (11 K)
Pulsed Ba+
Ion Beam
Induction Plates
Ba+/Ba Deposition
Induction signal is read out during deposit.
Retract Faraday cup during Ba+ pulse deposit.

## Slide 28
Tunable Dye Laser
Filter
To spectrometer/CCD
Xe gas
Sapphire Window (11 K)
Pulsed Ba+
Ion Beam
50 mm Camera Lens

## Slide 29
Tunable Dye Laser
Filter
To spectrometer/CCD
Xe gas
Sapphire Window (11 K)
Pulsed Ba+
Ion Beam
50 mm Camera Lens
Some neutralization of Ba+ in SXe

## Slide 30
Measuring Xe matrix growth rate using interference fringes:
Xe deposit at 50 K
Deposition rate of ~30 nm/s
Observe same number of fringes when evaporating sample

## Slide 31
Ba and Ba+ Transitions in Vacuum
Ba
Ba+
~1 in 330 decays from 1P1 state are into metastable D states
~1 in 4 decays from 2P1/2 state are into metastable D state

## Slide 32
Interactions with neighboring host atoms (xenon)
Ba/Xe interaction is different in ground vs. excited state:
Shifts and broadening in absorption (A) and emission (B)
Franck-Condon principle:
Strongest excitation occurs to vibrational states whose wavefunctions overlap

## Slide 33
Excitation and emission are broadened
Excitation is shifted from vacuum wavelength
Emission is shifted from excitation
Phys. Rev. A 91, 022505 (2015).
Ba in solid argon
Ba in solid xenon
Interactions with neighboring host atoms (xenon)

## Slide 34
Non-radiative, e.g. crossing of potential energy curves
Radiative, e.g. parity change
Interactions with neighboring host atoms (xenon)
Rate changes:

## Slide 35
Matrix effects (shifts, broadening, and transition rates) can be matrix site dependent.
Matrix Sites
Ba
Emission from Ba occupying different sites

## Slide 36
Part 1: Spectroscopy

## Slide 37
Emission of Ba in Solid Xe
Peaks observed at:
570 nm
577 nm
591 nm
601 nm
619 nm
670 nm
a
b
c
d
e
f

## Slide 38
Excitation Spectra of Ba Emission Peaks

## Slide 39
Thermal History Dependence
Matrix site populations can depend on thermal history:
Deposits at higher temperature (50 ± 5 K) result in larger 577-nm and 591-nm.
619-nm signal also higher w/ 50 ± 5 K deposit.
Images of 619-nm Ba fluorescence in focused laser (discussed later):
Deposit at 11 K
Deposit at 52 K
All observation is at 11 K

## Slide 40
Annealing
564 nm laser excitation
Gain in 577-nm and 619-nm peaks after Cycle 1 (to 39 K), with modest loss in 591-nm.
Loss in fluorescence after Cycle 3 (to 48 K).
Overall, fluorescence is highest at 11 K.

## Slide 41
Bleaching
Decay of Fluorescence w/ Laser Exposure
Spectra of Ba in SXe at different moments in time:
556.9 nm Laser
562.6 nm Laser
566.3 nm Laser
Rapid bleaching in 570-nm, 577-nm, 591-nm peaks.
619-nm and 670-nm peaks do not bleach at this laser intensity

## Slide 42
Bleaching
Decay of Fluorescence w/ Laser Exposure
Bleaching is an obstacle for observing single atoms in these matrix sites: need more photons/atom.
What causes bleaching?
Likely: optical pumping into metastable states, as in Ba in vacuum:
Re-pumping with IR lasers may be required for continued fluorescence cycle.

## Slide 43
Bleaching Model
Rates in vacuum:
A21=1.2x108 s-1
A23=2.5x105 s-1
A24=1.1x105 s-1 branching ratio 0.003
A25=3.1x103 s-1
A31=5 s-1
A41=0.014 s-1 very slow metastable decay
A51=0.017 s-1
N1 + A21N2 + A31N3 + A41N4 + A51N5
N1 – (A21 + A23 + A24 + A25) N2
A23N2 – A31N3
A24N2 – A41N4
A25N2 – A51N5
N1 + N2 + N3 + N4 + N5 = Natoms
# Excitations
Compare numerical solution to above equations (normalized) to Ba in SXe data:
Agreement for first ~200 excitations
Disagreement may be due to altered rates in SXe
Still, re-pump lasers may eliminate/reduce bleaching.

## Slide 44
Re-pump Attempts
w/ Inexpensive and On-hand Lasers
Ba in Vacuum
Higher-level states may provide re-pump paths (in addition to direct IR transitions).
e.g., 659.7 nm used along with 1130.0 nm and 1500.0 nm for
Ba MOT in Phys. Rev. A 79, 041402(R) (2009)
591-nm fluorescence vs. time w/ and w/o additional lasers:
Green: 555 nm (dye)
IR: 1064 nm (Nd:YAG)
+ 1550 nm (diode)
Red: 657 nm (diode)
Blue: 473 nm (dye)
Violet: 406 nm (Kr ion laser)
No positive effect from these additional lasers (only increased bleaching)

## Slide 45
Bleaching of 619-nm Peak
619-nm fluorescence counts from a focused laser:
Much higher excitation rate due to focused laser
# Excitations
Though some bleaching is observed with the higher 0.61 mW laser power, the long-lasting 619-nm fluorescence is intriguing for single-atom detection w/o the need for re-pump lasers…

## Slide 46
Summary of conditions for imaging

## Slide 47
Part 2: Imaging

## Slide 48
Imaging Ba in SXe on Cold Sapphire Window
Sapphire Window
SXe
Laser
Ba
cross-sectional side view
Image is from above
Laser

## Slide 49
Currently underway in parallel, by Chris Chambers and Adam Craycraft
Ion Extraction from Liquid Xenon
Liquid Xenon Cell
Cold Probe
Barium Source
Cold Probe

## Slide 50: conclusions
Summarized study of neutrinos by neutrinoless double beta decay in EXO
We have made a lot of progress toward understanding barium fluorescence in solid xenon, with remaining tasks:
  Understanding rate changes in SXe
  Overcoming optical pumping
  Imaging single atoms

## Slide 51
Ba+/Ba Deposition

## Slide 54
9.9 events in 2 sigma is consistent w/ null at 1.2 sigma level

## Slide 55
Image of fluorescence by semi-focused laser: