## Slide 1: Barium Tagging in Solid Xenon for nEXO
Tim Walton
PhD Defense
2015-12-08
committee:
William Fairbank Robert Wilson
Bruce Berger Alan Van Orden

## Slide 2
Neutrinos and neutrinoless double beta decay
EXO-200 experiment
nEXO and barium tagging
Barium tagging in solid xenon (SXe):
  Spectroscopy of Ba and Ba+ in SXe
  Imaging single Ba atoms in SXe
Outline

## Slide 3
Neutrinos
First indications: beta decay spectrum
Interact only via Weak Force (and Gravity)
Very small mass

## Slide 4
νe
νμ
Neutrino oscillation
sij = sin θij, cij = cos θij, and δ, α1, α2 are CP-violating phases.
With mν << pν, time-evolution is determined by mass squared differences Δm212 = m22 – m12 and Δm312 = m32 – m12.
Neutrino oscillation requires non-zero mass squared differences.
Neutrinos interact as flavor states |,|,|.
Flavor basis is related to the mass basis |,|,| by
PMNS matrix:

## Slide 5
2012 Review by K. Nakamura, U. Tokyo, S.T. Petcov
Neutrino mixing measurements given Normal (Inverted) Hierarchy:
νe
νμ
Neutrino oscillation
Neutrino Mass Hierarchy

## Slide 6
Much yet to learn…
What is the fundamental nature of neutrinos? (How is their mass generated, and why is it so small? Are they Majorana or Dirac particles?)
What is the absolute mass scale of the neutrinos?
Do they violate CP and/or Lepton Number conservation?
A method: search for Neutrinoless Double Beta Decay (0νββ)
Observation of this decay would:
prove that neutrinos are Majorana fermions
measure absolute neutrino mass in the form of effective electron-neutrino mass:
(Q,Z)
where
is a known phase factor
is the nuclear matrix element for 0νββ
is the half-life of 0νββ

## Slide 7
Search for 0νββ
Energy Spectrum Signature
- Predicted by Standard Model
- Observed in many isotopes,
including Xe136 in EXO
and KamLAND ZEN
Very rare decay
Very low backgrounds are required

## Slide 8
EXO-200:
WIPP salt mine
near Carlsbad, NM
~200-kg. liquid Xe (LXe) time projection chamber (TPC), enriched to ~80.6% Xe136
operates in class 100 cleanroom, 2,150 ft. underground
TPC installation into copper cryostat
First phase of Enriched Xenon Observatory,
for the search for 0νββ mode of

## Slide 9
EXO-200 Time Projection Chamber
Cathode grid
Detection plane for
charge (wires) and scintillation
(APDs) from decay events in the LXe

## Slide 10
Liquid Xenon
Avalanche Photo Diodes (APDs) for scintillation light
Drift time gives z-position
Cross-hatched “u” and “v” wires give x-y position, u-wires collect ionized charge
EXO-200 Time Projection Chamber
(time between scintillation and charge detection)

## Slide 11
2νββ spectrum
EXO-200 Results
(2.165 ± 0.016 stat. ± 0.059 sys.)×1021 yr
Phys. Rev. C, Jan. 2014
1.6×1025 yr (90% CL)
Effective Majorana neutrino mass of
< 140-380 meV
Phys. Rev., July 2012
Zoom into region of interest
(where 0νββ peak would be)
KamLAND ZEN:
1.9×1025 yr (90% CL)

## Slide 12
nEXO
Successor to EXO-200: ~5-ton liquid Xe TPC for more sensitive 0νββ search.
Ba tagging: identify barium daughter for complete background elimination
Will require grabbing/detecting a single Ba+ out of a macroscopic volume of LXe!

## Slide 13
- nEXO collab -

## Slide 14
0νββ Sensitivity
0νββ could determine mass hierarchy
nEXO will probe full Inverted Hierarchy
NH
IH

## Slide 15
- General Ba tagging -

## Slide 16
Barium Tagging in Solid Xenon
Ba+ ion
solid Xe
Onbb decay
liquid Xe TPC
Cold probe
CCD
fiber
solid Xe
laser
Ba+ ion

## Slide 17
Requires:
Position of 2β decay known (TPC)
Understanding of Ba/Ba+ fluorescence in solid xenon
Detection sensitivity at single atom/ion level
Barium Tagging in Solid Xenon

## Slide 18
Requires:
Position of 2β decay known (TPC)
Understanding of Ba/Ba+ fluorescence in solid xenon
Detection sensitivity at single atom/ion level
Barium Tagging in Solid Xenon

## Slide 19
Ion Beam
for depositing Ba+ ions into Solid Xenon
Ba+ ion
source
2000 V
EхB
mass filter
pulsing
plates
Sapphire
Window
Acceleration/
Einzel Lens
Einzel Lens
Einzel Lens
deflection
plates
deflection
plates
deflection
plates
Decelerator
Faraday cup
Faraday cup
induction plates

## Slide 20
Ion Source
hot filament/cathode
anode
Barium source

## Slide 21
Ion Source
Barium source
Ba+ ions escape through small hole

## Slide 22
Ion Acceleration
2000 V
0 V

## Slide 23
E x B Mass Filter for selecting Ba+
N
S
+
-
Electrode “shims” for shaping E-field
Only ions with velocity satisfying
qE = qvB
will move through filter undeflected, thus selecting specific m/q, which have different velocities due to initial acceleration.
ion beam

## Slide 24
Pulsed Ba+
Ion Beam
Faraday cup is calibrated to calculate
Ions/Area
Pulse
Sapphire Window (11 K)
Ba+/Ba Deposition
Faraday Cup
Induction Plates

## Slide 25
Xe gas
Sapphire Window (11 K)
Pulsed Ba+
Ion Beam
Induction Plates
Ba+/Ba Deposition
Induction signal is read out during deposit.
Retract Faraday cup during Ba+ pulse deposit.

## Slide 26
Tunable Dye Laser
Filter
To spectrometer/CCD
Xe gas
Sapphire Window (11 K)
Pulsed Ba+
Ion Beam
50 mm Camera Lens

## Slide 27
Imaging Ba in SXe on Cold Sapphire Window
Sapphire Window
SXe
Laser
Ba
cross-sectional side view
Image is from above
Laser

## Slide 28
Measuring Xe matrix growth rate using interference fringes:
Xe deposit at 50 K
Deposition rate of ~30 nm/s
Observe same number of fringes when evaporating sample

## Slide 29
Ba/Ba+ vacuum transitions
6p 2P3/2
6p 2P1/2
5d 2D5/2
5d 2D3/2
6s 2S1/2
455.5 nm
493.4 nm
649.7 nm
585.4 nm
614.2 nm
Ba+
Ba
553.5 nm
1500.0 nm
6s2 1S0
6s6p 1P1
1130.3 nm
1107.6 nm
6s5d 1D2
6s5d 3D1,2
~1 in 330 decays from 1P1 state are into metastable D states
~1 in 4 decays from 2P1/2 state are into metastable D state

## Slide 30
Ba and Ba+ Transitions in Vacuum

## Slide 31
Franck-Condon Principle
Barium in vacuum
553.5 nm
6s2 1S0
6s6p 1P1
6s5d 1D2
6s5d 3D1,2
Interactions with neighboring host atoms (xenon)
Changes in vibrational states can cause shifts between excitation and fluorescence, as well as broadening:
Crossing of these energy curves can lead to significant non-radiative decay channels.
Van Der Waals Forces
Induced dipole-dipole between nearby atoms (or ion w/ nearby atom).

## Slide 32
In general,
Excitation is broadened
Fluorescence is shifted and broadened
Example:
Barium in solid Argon
* measured in Brian Mong’s thesis
* L. Balling and J. Wright
Barium in solid Xenon
Interactions with neighboring host atoms (xenon)

## Slide 33
filter cut-off
laser
Barium in solid xenon
main fluorescence
555 nm
6s2 1S0
6s6p 1P1
6s5d 1D2
6s5d 3D1,2
590 nm

## Slide 34
Interactions with neighboring host atoms (xenon)
Non-radiative decays
Barium in vacuum
553.5 nm
6s2 1S0
6s6p 1P1
6s5d 1D2
6s5d 3D1,2
Out of P-state will cause decrease in fluorescence efficiency:
Out of D-states can help re-populate ground state
* Forbidden decays can become stronger in a solid matrix, e.g., parity-forbidden D -> S decay in barium
Decay rates can be different from vacuum values, affecting fluorescence vs. time

## Slide 35
n = 1.77
Ba atoms
sapphire
window
laser
solid xenon
(side view)
Focusing the laser effectively reduces number of atoms being observed.

## Slide 36
No deposit
(window-only)
w/ ion deposit
Window width
See fluorescence on window’s top surface
Imaging
(side view)
(from above)

## Slide 37
Barium Fluorescence Images
50 msec.
100 msec.
200 msec.
~4.5 sec.
700 msec.
~3 min.
w/ focused laser
Too much optical pumping to detect signal from 1 atom
Cross-section
at focus position:

## Slide 38
A2(3,4,5)
A(3,4,5)1
A21
W12
2
1
3
4
5
Optical pumping of Ba
Rates in vacuum:
A21=1.2x108 s-1
A23=2.5x105 s-1
A24=1.1x105 s-1 branching ratio 0.003
A25=3.1x103 s-1
A31=5 s-1
A41=0.014 s-1 very slow metastable decay
A51=0.017 s-1
6s2
6s6p
6s5d
model
Total fluorescence photons
N1 + A21N2 + A31N3 + A41N4 + A51N5
N1 – (A21 + A23 + A24 + A25) N2
A23N2 – A31N3
A24N2 – A41N4
A25N2 – A51N5
N1 + N2 + N3 + N4 + N5 = Natoms
Rate Equation

## Slide 39
A2(3,4,5)
A(3,4,5)1
A21
W12
2
1
3
4
5
Overcoming optical pumping with re-pump lasers
W(3,4,5)2
With 3 re-pump lasers, fluorescence does not saturate.
model
Total fluorescence photons
Rate Equation w/ re-pumps

## Slide 40
6s2 1S0
6s6p 1P1
6s5d 1D2
6s5d 3D1
6s5d 3D2
659.7 nm
5d6p 3D1o
(others)
Ba MOT produced in vacuum
Two effective re-pumping schemes demonstrated for MOT
De et al., PHYSICAL REVIEW A 79 (2009)
1500.0 nm,
1107.6 nm,
1130.3 nm
(ground)
(ground)
1500.0 nm,
1130.3 nm
~107 photons/sec achieved
We expect similar excitation rate for a focused laser with Ba in SXe.

## Slide 41
Understand matrix effects on barium fluorescence rates
Overcome optical pumping to achieve high counts/atom
Image single atoms
Plan for this Thesis:

## Slide 42
Understand matrix effects on barium fluorescence rates
Focused laser optically pumps too fast
more uniform laser intensity --> known excitation rate (w12)
lower laser intensity --> slower optical pumping
larger area --> more atoms --> more signal on short time scales
Fluorescence Decay at Different Laser Intensities:
Compare to model to determine matrix-induced decay rates.
use less (or no) laser focus:

## Slide 43
dye laser
555nm
sample
1550nm
laser diode
1064nm
laser
6s2 1S0
6s6p 1P1
6s5d 1D2
6s5d 3D1
6s5d 3D2
1550nm to re-pump 1500.0nm (vacuum) line
-and-
1064nm to re-pump both
1107.6nm and 1130.3nm (vacuum) lines
(ground)
dichroic filters
Absorption can be broadened in SXe
-> first tried convenient
lasers near vacuum re-
pump wavelengths:
2) Overcome optical pumping

## Slide 44
Each curve is a separate deposit
Results from convenient re-pump search
Integrated fluorescence counts
*this needs to be repeated/confirmed
Model comparisons will help inform which re-pump(s) are needed, especially desired since more expensive lasers will be needed.
Looks like off-resonant/incomplete re-pump.

## Slide 45
3) Image single atoms!
Image of 3 dye molecules in SXe:
Since more focused laser will be required,
imaging will require sufficient
  Optical resolution vs. density of ion deposit
  Collection efficiency vs. fluorescence rate
May need to improve some elements:
Collection optics:
SXe laser (w/ Ba)
Cold finger
clamps
Barium fluorescence
Ion source:
Low-rate Ba+ source
w/ alpha-recoil counter
* will also require bypassing spectrometer
* better ion count will help determine tagging efficiency/neutralization %

## Slide 46
Currently underway in parallel, by Chris Chambers and Adam Craycraft
Ion Extraction from Liquid Xenon
Liquid Xenon Cell
Cold Probe
Barium Source
Cold Probe

## Slide 47: conclusions
Summarized study of neutrinos by neutrinoless double beta decay in EXO
We have made a lot of progress toward understanding barium fluorescence in solid xenon, with remaining tasks:
  Understanding rate changes in SXe
  Overcoming optical pumping
  Imaging single atoms

## Slide 48
Ba+/Ba Deposition