## Slide 1: Things thought about and decided on choosing certain plots, etc. also just production processes

## Slide 2
In considering a more comprehensive (including 619 etc.) version of this plot, I looked at the 2014-09-16 data, but nothing is quite as good. The 40K deposit for run 77 etc. is not similar to the other ones, because this day had long WL deposits. Here is a comparison of same-excitation for 11 K and 40 K, but again I don’t think they’re similar enough, and you should just use a separate day’s tests for seeing the 619 magnitude vs. deposit temp.

## Slide 3
On deciding what to call the leak rate for leak44 (for 619 leak rate dependence):
2014-07-29, the data used for leak rates in BaSpec, give:
Leak50 120 nm/s
Leak48 55 nm/s
Leak46 30 nm/s
Leak44 8 nm/s but these are not exactly right due to neglect of SXe n
Those are at 11 K. For quoting at ~50 K, multiply by (31/37) based on recent test. Then, to get the real leak rate, multiply above numbers by (37/55) since leak 48 was measured to be 37 nm/s at 11 K in recent stuff (rather than 55 nm/s).
But since the thing in the thesis is describing the leak rate 44 at 11 K, just do:
(8 nm/s) х (37/55) ≈ 5 nm/s.

## Slide 4
On 693 peak(s)
This was misleading because the grating
was at different places (and uncalibrated):
~100 K
~15 K
The old paper was at 77 K, so… idk
What really seems to happen is that the lower-wavelength one goes away between ~100 K and ~15 K (T measurements aren’t really good for this, but that’s close):
Cooling from room temp does this

## Slide 5
Achieving the surface BG spectrum:
The reason to multiply the sapphire part by 0.6 is that it should not be larger than the black spectrum (which is surfBG + sapp). The surface part has less sapp in it because it is tapering off there, so it needs scaling, and this is sort of the best guess, albeit not necessarily correct – however, the sapp contribution in the region we care about is small anyway.
unscaled

## Slide 6
I cannot find the code for re-binning plots, so I for-went this one:

## Slide 7
5 × average(abs(x/y pos minus that of previous run))
8-7 x .741 μm
9-16 x .484 μm y .62 μm
ignored 8-7 y due to cam warming
Determining the “typical variance” of laser position in image:

## Slide 8
Determining stat. and syst. errors on these
Stat error = 1.08/sqrt(6) = 0.44
Stat error = 0.827/sqrt(4) = 0.41
Systematic errors come from the horrible equation in fringe_interference.xlsx, and come from just inputting the central values for T:
And for the full error I just did quadrature sum
0.31 and 0.35

## Slide 9
Value/uncertainty on difference between x and y focus w/ no astig. corr.
127.59 ± 2.5 μm
From quadrature adding of the two uncertainties

## Slide 10
Expected and Observed in Scanning
Expected signal from 20150807, / mW,
with #atoms definition #2 (x2 2.06μm×2.06μm region):
1000
or 200 cts/atom
trend line:
Next: consider these (in 1D/ of 8-12 and 8-21), and you had a script that plots them on the same plot, and you could observe things like (a) failure to match up for BG sub – what does that mean? (b) fluctuations are lower than they appeared in the 2D plots, …(c) is it lower in the bleached region of 8-21? …
Goal:
ation
Another question, since maybe the variations aren't as big as you thought, is are those peaks possibly actually atoms, in the ones that had a cool peak

## Slide 11
On calibration of 2014-06-26 (bleaching) data:
Spectrum from output I sent Brian (pretty sure) for the BaSpec paper
From this (20140916), just scaled up, and this is calibrated (by program, but permanently)
Graph-calibrated by recal_map.txt and function cal20140626() from spec_calibrate.C
It’s off a little bit on the 577 peak for some reason, but that’s just how it is.

## Slide 12
On power meter QE (2014-08-15):
~70% was obtained in the green, but this is consistent with the power meter’s sensitive area vs. the ~7-mm green w on the optical table. Blue was more like 50%, but I don’t know its size at the optical table. Basically the data is useless because we didn’t write down where the power meter was.